## Final (2)
Procurement Plan under STRIVE for Trade Electrician of Govt ITI Sonipat
S No. | Name of the Tools and Equipment | Specification | Trade | Quantity | Rate Per Unit | Total Value
1 | Measuring Steel Tape | 5 meter | Electrician | (66) Nos. | 160 | 10560
2 | Combination Plier Insulated | 200 mm | Electrician | (41) Nos. | 145 | 5945
3 | Screwdriver Insulated | 4mm X 150 mm, Diamond Head | Electrician | (8) Nos. | 50 | 400
4 | Screwdriver Insulated | 6mm X 150 mm | Electrician | (7) Nos. | 45 | 315
5. | Electrician screwdriver thin stem insulated handle | 4mm X 100 mm | Electrician | (40) Nos. | 50 | 2000
6 | Heavy Duty Screwdriver insulated | 5mm X 200 mm | Electrician | (42) Nos. | 50 | 2100
7. | Electrician Screwdriver thin stem insulated handle | 4mm X 250 mm | Electrician | (40) Nos. | 60 | 2400
8 | Punch Centre | 9mm X 150 mm | Electrician | (26) Nos. | 50 | 1300
9 | Knife Double Bladed Electrician | 100 mm | Electrician | (40) Nos. | 100 | 4000
10 | Neon Tester | 500 V | Electrician | (23) Nos. | 30 | 690
11. | Steel Rule Graduated both in Metric and English Unit | 300 mm with precision of 1/4th mm | Electrician | (26) Nos. | 20 | 520
12 | Hammer, cross peen with handle | 250 grams | Electrician | (24) Nos. | 150 | 3600
13 | Hammer, ball peen With handle | 500 grams | Electrician | 4 Nos. | 200 | 800
14 | Pincer | 150 mm | Electrician | 4 Nos. | 250 | 1000
15 | C- Clamp | 200 mm and 100 mm | Electrician | 2 Nos. each | 600 | 1200
16 | Spanner Adjustable drop forged, SS | 150 mm & 300mm | Electrician | 2 Nos. each | 150 | 300
17 | Blow lamp brass | 0.5 ltr | Electrician | 1 No. | 800 | 800
18 | Chisel Cold | 25 mm X 200 mm | Electrician | 2 Nos. | 120 | 240
19 | Chisel firmer with wooden Handle | 6 mm X 200 mm | Electrician | 2 Nos. | 80 | 160
20 | Allen Key alloy steel | 1.5-10 mm (set of 9) | Electrician | 1 Set | 170 | 170
21 | Grease Gun | 0.5 ltr. Capacity | Electrician | 1 No | 370 | 370
22 | Bradawl |  | Electrician | 2 Nos. | 70 | 140
23 | Pully Puller with 3 legs | 150 mm & 300mm | Electrician | 1 each | 1500 | 1500
24 | Bearing Puller (inside and outside) | 200 mm | Electrician | 1 No. each | 1500 | 1500
25. | Pipe vice Cast Iron with hardened jaw open type | 100 mm | Electrician | 2 Nos. | 1300 | 2600
26 | Scissors blade, SS | 200mm | Electrician | 4 Nos. | 150 | 600
27 | Scissors blade, SS | 150 mm | Electrician | 2 Nos. | 100 | 200
28. | Crimping Tool | 1.5 sq mm to 16 sq mm | Electrician | 2 Nos. | 300 | 600
28. | Crimping Tool | 16 sq mm to 95 sq mm | Electrician | 2 Nos. | 300 | 600
29 | Wire Cutter and Stripper | 150 mm | Electrician | 4 Nos. | 300 | 1200
30 | Mallet hard wood | 0.50 kg | Electrician | 4 Nos. | 100 | 400
31 | Hammer Extractor type | 250 grams | Electrician | 4 Nos. | 250 | 1000
32. | Hacksaw frame | Adjustable 300 mm Fixed 150 mm | Electrician | 2 Nos. each | 20 | 40
33 | Try Square | 150 mm blade | Electrician | 4 Nos. | 200 | 800
34 | Outside Calliper | 150 mm spring type | Electrician | 2 Nos. | 60 | 120
35 | Inside Calliper | 150 mm spring type | Electrician | 2 Nos. | 60 | 120
36 | Divider | 150 mm spring type | Electrician | 2 Nos. | 60 | 120
37 | Pliers long nose insulated | 150 mm | Electrician | 4 Nos. | 80 | 320
38 | Pliers flat nose insulated | 200 mm | Electrician | 4 Nos. | 80 | 320
39 | Pliers round nose insulated | 100 mm | Electrician | 4 Nos. | 80 | 320
40 | Tweezers | 150 mm | Electrician | 4 Nos. | 30 | 120
41 | Snip Straight and Bent heavy duty | 250 mm | Electrician | 2 Nos. each | 300 | 600
42 | D.E. metric Spanner Double Ended | 6 - 32 mm | Electrician | 2 Set | 400 | 800
43 | Drill hand brace | 0-100mm | Electrician | 4 Nos. | 250 | 1000
44 | Drill S.S. Twist block | 2 mm, 5 mm and 6 mm set of 3 | Electrician | 4 Set | 250 | 1000
45 | Plane cutters | 50 mm X 200mm | Electrician | 2 Nos. | 600 | 1200
46 | Smoothing cutters | 50 mm X 200mm | Electrician | 2 Nos. | 500 | 1000
47. | Gauge, wire imperial stainlees steel marked in SWG & mm | Wire Gauge - Metric | Electrician | 4 Nos. | 500 | 2000
48 | File flat | 200 mm 2nd cut with handle | Electrician | 8 Nos. | 100 | 800
49 | File half round | 200 mm 2nd cut with handle | Electrician | 4 Nos. | 80 | 320
50 | File round | 200 mm 2nd cut with handle | Electrician | 4 Nos. | 100 | 400
51 | File flat rough | 150 mm with handle | Electrician | 4 Nos. | 70 | 280
52 | File flat bastard | 250 mm with handle | Electrician | 4 Nos. | 80 | 320
53 | File flat smooth | 250 mm with handle | Electrician | 4 Nos. | 100 | 400
54 | File Rasp, half round | 200 mm bastard with handle | Electrician | 4 Nos. | 100 | 400
55 | Copper bit soldering iron. | 0.25 kg | Electrician | 2 Nos. | 400 | 800
56 | De soldering Gun | Heat proof nozzle, PVC type, 250mm | Electrician | 4 Nos. | 20000 | 80000
57 | Hand Vice | 50 mm jaw | Electrician | 4 Nos. | 500 | 2000
58 | Table Vice | 100 mm jaw | Electrician | 8 Nos. | 1000 | 8000
59 | Oil Can | 250 ml | Electrician | 2 Nos. | 80 | 160
60 | Contactor & auxiliary contacts | 3 phase, 415 Volt, 25 Amp with 2 NO | Electrician | 2 Nos. each | 1500 | 3000
61 | Contactor & auxiliary contacts. | 3 phase, 415 volt, 32 Amp with 2 NO and 2 NC | Electrician | 2 Nos. each | 1500 | 3000
62 | Limit Switch | Limit Switch, Liver operated 2A 500v, 2-contacts | Electrician | 2 Nos. | 340 | 680
63 | Rotary Switch | 16 A/440v | Electrician | 2 Nos. | 450 | 900
64 | Relay- a. Cut out Relays b. Reverse current c. Over current d. Under voltage | a. 16A, 440V b. 16A, 440V c. 16A, 440V d. 360V-440V | Electrician | 2 No. each | 4200 | 8400
65 | Pin Type, shackle type, egg type & suspension type insulators including hardware fitting |  | Electrician | 2 Nos. each | 500 | 1000
66 | Hydrometer |  | Electrician | 2 Nos. | 250 | 500
67 | Hand Drill Machine | 0-6 mm capacity | Electrician | 2 Nos. | 400 | 800
68. | Portable Electric Drill Machine | 0-12 mm capacity 750w, 240v with chuck and key | Electrician | 1 No. | 2500 | 2500
69 | Load Bank ( Lamp / heater Type) | 6 KW, 3Ph | Electrician | 1 No. | 4000 | 4000
70. | Brake Test arrangement with two spring balance rating | 0 to 25 kg | Electrician | 1 No. | 6000 | 6000
71 | Laboratory Type Induction Coil | 1000 W | Electrician | 2 Nos. | 5000 | 10000
72 | Out Side Micrometer | 0 - 25 mm least count 0.01mm | Electrician | 2 Nos. | 600 | 6200
73 | Thermometer Digital | 0° C - 150° C | Electrician | 1 No. | 400 | 400
74 | Series Test Lamp | 230V, 60W | Electrician | 4 Nos. | 100 | 400
75. | Knife Switch DPDT fitted with fuse terminals | 16 Amp | Electrician | 4 Nos. | 2000 | 8000
76. | Knife Switch TPDT fitted with fuse terminals | 16 Amp/ 440 V | Electrician | 4 Nos. | 2500 | 10000
77 | Miniature Breaker | 16 amp | Electrician | 2 Nos. | 200 | 400
78. | Earth Plate | 60cm X 60cm X 3.15mm Copper Plate 60cm X 60cm X 6mm GI Plate | Electrician | 1 Each | 10000 | 10000
79. | Earth Electrode | Primary Electrode 2100x28x3.25mm Secondary Cu Strip 20x5mm | Electrician | 1 No. | 5000 | 5000
80 | MCCB | 100Amps, Triple pole | Electrician | 1 No. | 1500 | 1500
81. | ELCB and RCCB | 25Amps, double pole and 25Amps, double pole, IΔn 30 mA | Electrician | 1 Each | 2000 | 2000
82. | Fuses | HRC Glass Rewire Type | Electrician | 4 Each | 500 | 2000
83. | Rheostat (Sliding type) | 0 - 25 Ohm, 2 Amp 0 - 300 Ohm, 2 Amp 0 -1 Ohm, 10Amp | Electrician | 1 No. each | 1500 | 1500
84. | Capacitors | Electrolytic Ceramic Polyester film Variable Dual run | Electrician | 2 Each | 200 | 400
85. | Various Electronic components | Resistors, Diode, Transistor, UJT, FET, SCR, DIAC, TRAIC, IGBT, Small transformer etc. | Electrician | As required | 500 | 500
86. | Various Lamps | Halogen Incandescent Lamp Fluorescent tube HP mercury vapor Lamp High-pressure sodium Lamp Low-pressure sodium Lamp LED | Electrician | 1 Each | 2000 | 2000
87. | Plug socket Piano Switch Lamp Holder | 230 V, 5 A | Electrician | 2 Each | 300 | 600
88. | Cables: Twisted Pair Non-Metallic Sheathed Cable Underground Feeder Cable Ribbon Cable Metallic Sheathed Cable Multi-Conductor Cable Coaxial Cable Direct-Buried Cable | 1 mtr each | Electrician | 1 Each | 1500 | 1500
89 | Bus bar with brackets | 1 mtr each | Electrician | 3 Nos. | 1100 | 3300
90 | Rubber mat | 2’ x 4’ x 1” | Electrician | 2 Nos. | 1500 | 3000
91 | Electrician Helmet | Yellow Colour | Electrician | 2 Nos. | 200 | 400
92. | RCC Pole with accessories (MS angle iron, ‘C’ clamp, stay insulator etc.) and materials | 6 Mtr | Electrician | 1 No. | 700 | 700
93 | Safety Belt | Standard quality | Electrician | 2 Nos. | 500 | 1000
94. | Ohm Meter; Series Type & Shunt Type, portable box type | 50/2000-ohm analog | Electrician | 2 Nos. each | 500 | 1000
95. | Digital Multi Meter | DC 200mv -1000v,0 – 10A & AC 200mv- 750v , 0-10A, resistance 0-20 MΩ and 3 1/2 digit | Electrician | 12 Nos. | 800 | 9600
96. | A.C. Voltmeter M.I. analog, portable box type housed in Bakelite case | Multi range 75 V - 150V - 300V - 600V | Electrician | 3 Nos. | 1000 | 3000
97. | Milli Voltmeter centre zero analog, portable box type housed in Bakelite case |  | Electrician |  | 1500 | 1500
98. | Ammeter MC analog, portable box type housed in Bakelite case | 0 - 500 mA, 0-5 A, 0-25 A | Electrician | 2 Nos. each | 1500 | 3000
99. | AC Ammeter MI, analog, portable box type housed in Bakelite case | 0 - 1 A, 0-5 A, 0-25 A | Electrician | 2 Nos. each | 1800 | 3000
100. | Kilo Wattmeter Analog | 0-1.5-3KW, pressure coil rating- 240v/440v, current rating-5A/10A Analoge, portable type Housed in Bakelite case | Electrician | 2 Nos. | 2000 | 4000
101. | Digital Wattmeter | 230 V, 1 KW, 50 Hz | Electrician | 2 Nos. | 1500 | 3000
102. | A.C. Energy Meter | Single Phase, 10 A, 240 V induction type | Electrician | 2 Nos. | 500 | 1000
103. | A.C. Energy Meter | Three Phase, 15 A , 440 V induction type | Electrician | 2 Nos. | 800 | 1600
104. | Power Factor Meter Digital | 440 V, 20 A, Three Phase portable box type | Electrician | 2 Nos. | 3000 | 6000
105 | Frequency Meter | 45 to 55 Hz | Electrician | 2 Nos. | 900 | 1800
106 | Magnetic Flux Meter | 0-500 tesla | Electrician | 2 Nos. | 2000 | 4000
107. | Lux meter | lux meter LCD read out 0.05 to 7000 lumens with battery. | Electrician | 2 Nos. | 900 | 1800
108 | Tachometer | Analog Type - 10000 RPM | Electrician | 1 No. | 3000 | 3000
109. | Tachometer | Digital Photo Sensor Type - 10000 RPM | Electrician | 1 No. | 3500 | 3500
110 | Tong Tester / Clamp Meter | 0 - 100 A (Digital Type) | Electrician | 2 Nos. | 1800 | 3600
111 | Megger | Analog - 500 V | Electrician | 2 Nos. | 2000 | 4000
112 | 3- point D.C. Starter | For 2.5 KW DC motor | Electrician | 1 No. | 2500 | 2500
113 | 4- point D.C. Starter | For 2.5 KW DC motor | Electrician | 1 No. | 2900 | 2900
114. | Wheat Stone Bridge with galvanometer and battery |  | Electrician | 2 Nos. | 8000 | 16000
115. | Single Phase Variable Auto Transformer | 0 - 270 V, 10Amp (Air cooled) | Electrician | 2 Nos. | 4000 | 8000
116 | Phase Sequence Indicator | 3 Phase, 415 V | Electrician | 2 Nos. | 2000 | 4000
117. | Growler | 230 V, 50 Hz, Single Phase, Adjustable jaws, Testing armature with ampere meter and testing probes. | Electrician | 1 No. | 1900 | 1900
118. | AC Starters: - a. Resistance type starter b. Direct online Starter c. Star Delta Starter- Manual d. Star Delta Starter – Semi automatic e. Star Delta Starter – Fully automatic f. Star Delta Starter - Soft starter g. Auto Transformer type |  | Electrician |  | 15000 | 15000
119 | Oscilloscope Dual Trace | 20 MHz | Electrician | 1 No. | 25000 | 25000
120. | Function Generator | 2 to 200 KHz, Sine, Square, Triangular 220 V, 50 Hz, Single Phase | Electrician | 1 No. | 10000 | 10000
121. | Soldering Iron | 25-Watt, 65 Watt and 120-Watt, 230 Volt | Electrician | 2 Nos. each | 300 | 600
122. | Temperature controlled Soldering Iron | 50-Watt, 230 Volt | Electrician | 2 Nos. | 400 | 800
123. | Discrete Component Trainer | Discrete Component (for diode and transistor circuit) with regulated power supply +5,0- 5 V,+12 ,0-12 V | Electrician | 2 Nos. | 2500 | 5000
124. | Linear I.C. Trainer | Linear I.C. Trainer with regulated power supply 1.2V to 15V PIC socket 16pin and 20 pins with bread board | Electrician | 1 No. | 13000 | 13000
125. | Digital I.C. Trainer | Digital I.C. Trainer 7 segment display and bread board | Electrician | 1 No. | 15000 | 15000
126 | a. Electric Induction plate | a. 1500 Watt, 240V | Electrician | 1 No. each | 1500 | 1500
126 | b. Electric Kettle | b. 1500 Watts, 240V | Electrician | 1 No. each | 2400 | 2400
126 | c. Electric Iron | c. Automatic - 750 W, 240 V | Electrician | 1 No. each | 1000 | 1000
126 | d. Immersion Heater | d. 1500 Watt, 240V | Electrician | 1 No. each | 800 | 800
126 | e. A.C. Ceiling Fan and AC Table Fan | e. 68-Watt, 230 V | Electrician | 1 No. each | 1300 | 1300
126 | f. Geyser (Storage type) | f. 10 litre | Electrician | 1 No. each | 5000 | 5000
126 | g. Mixture & Grinder | g. 750 W, 240 V | Electrician | 1 No. each | 5500 | 5500
126 | h. Washing Machine Semi-Automatic | h. 5 Kg, | Electrician | 1 No. each | 10000 | 10000
126 | i. Motor Pump set | i. 1 HP, 1 Phase, 240 V | Electrician | 1 No. each | 5000 | 5000
127. | Oil Testing Kit | Oil Testing Kit 230 V, single phase 50 Hz 60 VA output 0-60 KV Variable | Electrician | 1 No. | 18000 | 18000
128. | Inverter with Battery | 1 KVA with 12 V Battery Input- 12 volt DC, Output- 220 volt AC | Electrician | 1 No. | 28000 | 28000
129. | Voltage Stabilizer | AC Input - 150 - 250 V, 600 VA AC Output - 240 V, 10 A | Electrician | 1 No. | 1200 | 1200
130 | DC Power Supply | 0 - 30 V, 5 A | Electrician | 2 Nos. | 8000 | 16000
131 | Battery Charger | 0 - 6 - 9 - 12 - 24 - 48 V, 30amp | Electrician | 1 No. | 15000 | 15000
132 | Current Transformer | 415 V, 50Hz, CT Ratio 25 / 5 A, 5VA | Electrician | 2 Nos. | 800 | 1600
133. | Potential Transformer | 415 V, 50Hz, PT Ratio, 440V/110V, 10VA | Electrician | 2 Nos. | 1000 | 2000
134 | Solar panel with Battery | 18 Watt | Electrician | 1 Set | 29000 | 29000
135. | Pentium IV Computer or latest | 2.8 GHz & above, 1 GB RAM, 80 GB HDD, DVD Combo Drive, 19/21” Monitor, optical scroll mouse, multimedia keyboard, 32 bit LAN card with UPP port, necessary Drivers, etc. OR (Latest Version) | Electrician | 2 Nos. | 27500 | 27500
136 | Ink jet/ laser printer |  | Electrician | 1 No. | 8000 | 8000
137. | D.C. Shunt Generator with control panel | D.C. Shunt Generator with control panel,2.5 KW, 220V &3phase Squirrel cage Induction Motor, 5HP, 440V with control panel & star delta starter | Electrician | 1 No. | 26000 | 26000
138. | Motor-Generator (AC to DC) | Squirrel Cage Induction Motor with star delta starter and directly coupled to DC shunt generator and switch board mounted with regulator, air breaker, ammeter, voltmeter, knife blade switches and fuses, set complete with case iron and plate, fixing bolts, foundation bolts and flexible coupling. Induction Motor rating: 7.5 HP, 415V, 50 cycles, 3 phases. DC Shunt Generator rating: 5 KW, 440V (Output voltage varies 110-440v) | Electrician | 1 No. | 40000 | 40000
139. | D.C. Compound Generator with control panel including fitted rheostat, voltmeter, ammeter and breaker | D.C. Compound Generator with control panel including fitted rheostat, voltmeter, ammeter and breaker, 2.5 KW, 220V &3phase Squirrel cage Induction Motor, 5HP, 440V, with control panel & star delta starter | Electrician | 1 No. | 25000 | 25000
140. | DC Series Motor coupled with spring balance load | 2.5 KW, 220 Volts | Electrician | 1 No. | 16000 | 16000
141 | DC Shunt Motor | 2.5 KW, 220 V | Electrician | 1 No. | 15000 | 15000
142. | DC compound Motor with starter and switch | 2.5 KW ,220 volts | Electrician | 1 No. | 17000 | 17000
143. | Motor Generator(DC to AC) set consisting of - Shunt Motor with starting compensator and switch directly coupled to AC generator with exciter and switch board mounted with regulator, breaker, ammeter, voltmeter frequency meter, knife blade switch and fuses etc. Set complete with cast iron bed plate, fixing bolts, foundation bolts and flexible coupling. | Shunt Motor rating: 5 HP, 440V AC Generator rating : 3-Phase, 4 wire, 3.5 KVA, 400/230 Volts, 0.8 pf, 50cycles | Electrician | 1 No. | 40000 | 40000
144. | AC Squirrel Cage Motor with star delta starter and triple pole iron clad switch fuse with Mechanical Load. | 5 HP, 3-Phase, 415 V, 50 Hz | Electrician | 1 No. | 12000 | 12000
145. | AC phase-wound slip ring Motor with starter switch | 5 HP, 440 V, 3 Phase, 50 Hz | Electrician | 1 No. | 10000 | 10000
146 | Universal Motor with starter/switch | 240 V, 50 Hz, 1 HP | Electrician | 1 No. | 9000 | 9000
147. | Synchronous motor with accessories like starter, excitation arrangements. | 3 Phase, 3 HP, 440V, 50Hz, 4 Pole | Electrician | 1 No. | 17000 | 17000
148. | Thyristor /IGBT controlled D.C. motor drive with tacho-generator feedback arrangement | 1 HP | Electrician | 1 No. | 20000 | 20000
149. | Thyristor/IGBT controlled A.C. motor drive with | VVVF control 3 Phase, 2 HP | Electrician | 1 No. | 30000 | 30000
150. | Single phase Transformer, core type, air cooled | 1 KVA , 240/415 V, 50 Hz | Electrician | 3 Nos. | 9000 | 27000
151. | Three phase transformer, shell type oil cooled with Delta/ Star | 3 KVA , 415/240 V, 50 Hz | Electrician | 2 Nos. | 29000 | 40000
152 | Used DC Generators-series, shunt and compound type for overhauling practice |  | Electrician | 1 No. Each | 18000 | 18000
153 | Pillar Electric Drill Machine Motorized | 12-20 mm Capacity, 1HP, 440V, 3 phase, Induction Motor with DOL starter, Bench Type | Electrician | 1 No. | 28600 | 28600
154 | Motorised Bench Grinder | 1 HP. 3 phase, 440V with DOL starter, Double side with smooth and rough wheel with Tool Base | Electrician | 1 No. | 3500 | 3500
155 | A.C. Series type Motor | 1 HP, 240 V, 50 Hz | Electrician | 1 No. | 8000 | 8000
156 | Single Phase Capacitor Motor with starter switch | 1 HP, 240 V, 50 Hz | Electrician | 1 No. | 6200 | 6200
157 | Manual Motor coil Winding Machine | With step arbor | Electrician | 1 No. | 4000 | 4000
158 | Ceiling fan coil Winding Machine | 250V, 50 Hz, 1-Ф, with speed control | Electrician | 1 No. | 2500 | 2500
159 | Primary current injection set | 220V, 50 Hz, 1-Ф, output current - 200 A (min) with timer | Electrician | 1 No. | 20000 | 20000
160 | Stepper Motor with Digital Controller |  | Electrician | 1 No. | 13000 | 13000
161 | Shaded Pole Motor | Fractional HP, 240 V, 50 Hz | Electrician | 1 No. | 8000 | 8000
162 | Working Bench | 2.5 m x 1.20 m x 0.75 m | Electrician | 4 Nos. | 15000 | 60000
163 | Wiring Board | 3-meter x1 meter with 0.5 meter projection on the top | Electrician | 1 No. | 2000 | 2000
164 | Instructor’s table |  | Electrician | 1 No. | 3000 | 3000
165 | Instructor’s chair |  | Electrician | 2 Nos. | 1500 | 3000
166 | Metal Rack | 100cm x 150cm x 45cm | Electrician | 4 Nos. | 3000 | 12000
167 | Lockers with drawers |  | Electrician | 1 for Each Trainee | 10000 | 10000
168 | Almirah | 2.5 m x 1.20 m x 0.5 m | Electrician | 1 No. | 12000 | 12000
169 | Fire Extinguisher CO2 | 2 KG | Electrician | 2 Nos. | 1500 | 3000
170 | Fire Buckets | Standard size | Electrician | 2 Nos. | 700 | 1400